## Slide 1: BCI wheelchair

## Slide 2: 0. S/W
Matlab (over ver. 2015 and under 2021b)
  Instruments control toolbox
  PTB-III (https://psychtoolbox.org/download.html)
Gstreamer (https://gstreamer.freedesktop.org/download/#windows)
OpenViBE (https://openvibe.inria.fr/downloads/)

## Slide 3: OpenViBE
https://openvibe.inria.fr/downloads/
Download ver. 2.2.0 (both 32 and 64bits)

## Slide 4: Gsteamer
https://gstreamer.freedesktop.org/download/#windows

## Slide 5: PTB-III
https://psychtoolbox.org/download.html
Required gsteamer
Download link

## Slide 6: PTB-III
In Matlab, Set path as: …/Psychtoolbox
Type the following in the Matlab command window
‘SetupPsychtoolbox.m’
Path (in matlab)

## Slide 7: OpenViBE
Installed Path:
  C:\Program Files (x86)\openvibe-2.2.0
  C:\Program Files\openvibe-2.2.0-64bit
  Please check!!
  Acquisition server: 32-bits
  Designer: 64-bits
Select Wearable sensing dry senser interface

## Slide 8: OpenViBE
Acquisition server (32 bits)
Driver properties
Device Manager
Preference
In Matlab function
Matching
Port -> silicon labs cp210x usb to uart bridge(COM N)

## Slide 9: OpenViBE
Designer (64-bits)
Matching
Matlab path
Number_5
Project path

## Slide 10: OpenViBE
Designer (64-bits)
c
OpenViBE project Initialize function
Custom BCI function

## Slide 11: BCI function
Main function
  square_flicker_4class_joint_phase_fixed_feedback.m
Util function
  generate_freq.m
  flickerTexture_all_class_circle.m
  flickerTexture_all_class_fixed.m
  Openvibe_tcp.m
  shuffle_vec.m

## Slide 12: How to use
1. Acquisition Server
Click
Click

## Slide 13: How to use
2. Degisner
Click
For wheelchair.mxs

## Slide 14: 1. OpenViBE
3. Matlab
v
Enter the function as below
Enter number 1

## Slide 15: Device components
Device
Micro USB(5 - pin)
for wired connection
Wireless USB adapter
Batteries * 2
Charger
Utility Tool
S/W

## Slide 16: Setup
S/W
DSI-streamer (copy)
UART driver (install)
USB driver (install)

## Slide 17: Streamer
Device Manager → UART USB port # (ex; COM 3)
Wired or wireless → connect
Check Diagnostic
Check
Imp. on
Recommend:
Z < 0.5

## Slide 18: Signal check – remarkable artifacts

## Slide 19: Device position
Eyebrows
Parallel

## Slide 20: Device
1. Position headset
2. Rotate knob clockwise to tighten headset
3. Hold the top board
4. Attach earlobes
5. Use utility tool to work sensor
*. Wired connector

## Slide 21: Status check
Turn on: press On/Off button twice
Turn off: press and hold On/Off → Rapid flashing of the Status LED
Status check
Turn on & not connected: slowly flickering of Status LED
Turn on & connected: turn off all LED, and press status button → 2 times flashing of Status LED